## Sheet1
Row Labels | Count of Ticket | Route Unconfirm | Code Unconfirm | Total Unconfirm | Unconfirm %
Alissa Washington | 9 | 0 | 0 | 0 | 0%
Beverly Patton | 50 | 0 | 1 | 1 | 2%
Hillary Terry | 96 | 0 | 0 | 0 | 0%
Janet Locklar | 210 | 4 | 6 | 10 | 4.762%
Jazmine Enriquez | 139 | 0 | 3 | 3 | 2.158%
Jennifer Navarro | 172 | 0 | 0 | 0 | 0%
Kari Rainey | 128 | 3 | 3 | 6 | 4.688%
Kelly Poynor | 135 | 2 | 2 | 4 | 2.963%
Maira Villa | 129 | 0 | 0 | 0 | 0%
Megan Lane | 118 | 0 | 7 | 7 | 5.932%
Misty Morrison | 1 | 0 | 0 | 0 | 0%
Nancy Sepulveda | 105 | 20 | 11 | 31 | 29.52%
Sally Dominguez | 117 | 0 | 0 | 0 | 0%
Tiffany Clay | 78 | 1 | 1 | 2 | 2.564%
Grand Total | 1487 |  |  | 64 | 3.899%

## Results
Ticket Number | Supplier Name | Requisitioner (who the RPA sent to Pass or Fail) | Ticket Description | Estimate Number | Currency | Comment (Pass? Or Why Failed)

## Sheet5
Row Labels | Count of Ticket
Beverly Patton | 1
Janet Locklar | 6
Jazmine Enriquez | 3
Kari Rainey | 3
Kelly Poynor | 2
Megan Lane | 7
Nancy Sepulveda | 11
Tiffany Clay | 1
Grand Total | 34

## Sheet4
Ticket | Supplier Name | Requisitioner | Superintendent | Office Approver | Ticket Description | GL Account
25047537 | Lone Star Instrumentation & Electric Corp | Beverly Patton | Bobby Ramirez | Jose Villarreal | WORK DESCRIPTION: Mobilized equipment, isolated power, cleaned out all disconnects and safety switches, torqued connections to spec requirments, maintained bank, tightened all bushing connections, checked grounding system, tested all disconnect fuses, coordinated fuses. | 5051044
51119914 | Lufkin US Acquisition Company LLC | Janet Locklar | Bud Wilson | Perry Jamison | PARTS | 5051003
PR1896805 | Mattr US Inc | Kelly Poynor | Cesar Galindo | Colby Brunson | Clark Cattail Battery Rental Invoice | 5051023
243532 | Royal Oilfield Services LLC | Kelly Poynor | Carlos Lopez | Josh Clemmer | JC- I was asked to transfer fresh water to the pump trucks from the company acid tech services. | 5051054
30135 | Well Solutions LLC | Nancy Sepulveda | Clayton Marburger | Gary Cain | 50 BBL CASING 20 BBL FL | 5051026
18325 | Bustamante Frontier Services LLC | Megan Lane | David Fuerte | Perry Jamison | HYDROVAC TRUCK TO TRENCH LINES ON LOCATION. | 5051026
205646 | Basin Trucking LLC | Nancy Sepulveda | Steven Salcedo | Gary Cain | Drove to location picked up roll of poly pipe and put on back of trailer truck, picked up base poly and put on utility trailer and discharge all in location. | 5051027
V-55785 | J&R Roustabout, LLC | Jazmine Enriquez | Fernando DeHoyos | Fabian Lujan | DROVE TO LOCATION AND EMPTY OUT TANK #1 AND TANK #2 AND STAND BY FOR CREW TO FINISHED REPLACING VALVES AND FITTINGS, DROVE TO BUCHANAN TO WASH OUT | 5051057
R-5291 | ACH Services, LLC | Kari Rainey | Jacob Rogers | Christopher Falcon | Drove to location to cut pipe plug off pipeline and plug on vacuum truck then drove to another spot to cut pipeline and put back using poly machine. | 5051023
R-5326 | ACH Services, LLC | Megan Lane | Billy Christy | Jobe Christon | Drove to location to power wash VRUs. | 5051027
2025-06996 | GTG Automation, Inc. | Jazmine Enriquez | Jesse Melendez | Jose Villarreal | Service Time: 0500-1300 Truck: PL309 Went out to location had a safety meeting before we started then went to each well pad and killed out banks and tightened all hardware on banks and also opened up disconnects and tightened and dusted off everything in the panels | 5051044
250811071 | Range Technical Services LLC | Kari Rainey | Joey Heredia | Gus Levario | Service Call | 5051044
25093563 | Lone Star Instrumentation & Electric Corp | Tiffany Clay | Joey Heredia | Gus Levario | WORK DESCRIPTION:Drove to location and set up truck. Began to de energize all equipment to begin installing all devices to well. Began to open up motor head cover and installed bushing to motor, pulled motor service into head and tightened down fitting, crimped on ground terminal and grounded motor ground. Began to wire up motor and tighten down all connections. Relocated brackets on unit for sensors and installed sensors to unit. Mounted support kit and load cell cable. Drilled holes for j box and mounted j box to unit. Shot all hilti shots needed and began to strap down all end devices and main service along with ground, terminated ground at well head and began to close up all equipment to begin testing, panel was not engaging so we opened panel to begin trouble shooting, found missing leg on top of starter, found all voltage good so we de energized disconnect and began to open up blades in panel to check connection, found blade insert loose causing connection to miss the phase, tightened down blade insert and put back together blade and began to energize panel. Checked balance on unit and found weights 72 and rods 61, motor rated for 99 amps, and was notified to leave unit down. | 5051044
11192 | Viper Energy Services & Transport, LLC | Janet Locklar | Missael Silva | Joshua Bales | Maintenance Roustabout - Installed auto drainer/ bleeder valve at scrubber air compressor. | 5051049
11194 | Viper Energy Services & Transport, LLC | Janet Locklar | Missael Silva | Joshua Bales | Maintenance Roustabout - Installed auto drainer/bleeder valve at scrubber air compressor. | 5051049
11195 | Viper Energy Services & Transport, LLC | Janet Locklar | Missael Silva | Joshua Bales | Maintenance Roustabout - Installed auto drainer/bleeder valve at scrubber air compressor. | 5051049
64527 | Valdez Oil Services, L.L.C. | Kari Rainey | Kenneth Hodges | Marco Rodriguez | DRAGO: Cleaned up spill from containment and transferred 20 bbl. of fluid into tank #7 | 5051027
R-5363 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5364 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5365 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5366 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5367 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5368 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5369 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Marco Rodriguez | Drove to location to install wind walls. | 5051027
R-5358 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | Christopher Cain | Drove to location to do weed control. | 5051054
2025-06978 | GTG Automation, Inc. | Jazmine Enriquez | Michelle Fuller | Jimmy Martin | Service Time: 1000-1400 Truck: 110 Drove to location turn power off disconnected power to drive and transformer pull flexes and wires out drive and transformer then disconnected the automation wires and remove them from drive also disconnected ground wires on the outside of drive and transformer | 5051044
R-5242 | ACH Services, LLC | Nancy Sepulveda | Kyle Jordan | P.A. Gonzales | Drove to location to install wind walls. | 5051027
25047753 | Lone Star Instrumentation & Electric Corp | Megan Lane | Ramiro Rangel | Dusty Gutierrez | WORK DESCRIPTION: Disconnected the ESP equipment from service. | 5051044
25047756 | Lone Star Instrumentation & Electric Corp | Megan Lane | Ramiro Rangel | Dusty Gutierrez | WORK DESCRIPTION:Pulled cut outs on the bank to disconnect well from service. | 5051044
25047788 | Lone Star Instrumentation & Electric Corp | Megan Lane | Ramiro Rangel | Dusty Gutierrez | WORK DESCRIPTION: Disconnect and remove all flex and wire from drive transformer and disconnect. Load up material onto trailer. Get wire footage and make material list. Get driving directions and call in dig test. Unload material at yard | 5051044
591071 | Bay Ltd | Megan Lane | David Fuerte | Perry Jamison | REMOVING VRU AND HAULING TO YARD AND OFFLOADING THEN LOADING ANOTHER VRU TO SET AT FIRST LOCATION. | 5051049
ML19715 | ML POWER LLC | Janet Locklar | Roy McNutt | Taylor Smith | esp2rp Perform a JSA review to identify potential hazards. Verify voltage levels and identify potential hazards. Collect wire at the station yard. At the location, terminate the main service at the drive and disconnect. Flex and terminate the motor service. After completion, close line fuses and restore power to the unit. Verify voltage levels and test the unit to confirm functionality. | 5051044
ML19722 | ML POWER LLC | Janet Locklar | Roy McNutt | Taylor Smith | esp2rp Conducted a JSA review to identify potential hazards. Verified voltage levels and identified potential hazards. Gathered necessary materials and wiring at Cain. Upon arrival at the site, installed the jbox and flex conduit for the permissive wires. Installed the flex conduit to the casing pt and tubing pt. Replaced the main service to the control box and terminated it to the disconnect, verifying the voltage at 120v, which is functioning correctly. Cleaned all trash. Departed the location and acquired a new radio and push pole at GDL. | 5051044
25047791 | Lone Star Instrumentation & Electric Corp | Megan Lane | Taylor Smith | Mark Allcorn | WORK DESCRIPTION: Drive out to location go over task with company men and coordinate shut down then go to all affected pads kill power pull fuses then go through all jumpers and connections on bank tighten or adjust where needed then open disconnects and use torque wrench to tighten all connections inside disconnect to needed torque pressure and close back up make banks hot again and move to next pad and repeat process | 5051044

## Sheet3
Row Labels | Count of Ticket
Janet Locklar | 4
Kari Rainey | 3
Kelly Poynor | 2
Nancy Sepulveda | 20
Tiffany Clay | 1
Grand Total | 30

## Sheet2
Ticket | Supplier Name | Requisitioner | Superintendent | Office Approver
BP-218426 | Rolfson Oil, LLC | Kelly Poynor
52479 | Redhead Services LLC | Tiffany Clay
670092 | AggieTech Energy Services LLC | Kari Rainey | Lance Gross | Billy Brookshire
59235 | FESCO LTD | Kari Rainey | Banny Wiebe | Mark Ramos
26157 | Phoenix Services LLC | Nancy Sepulveda | Callen Elliott | Britt Gunnels
52640 | Redhead Services LLC | Janet Locklar | Cody Casey | Ruben Alonso
395715 | Tommy White Supply Company, Inc. | Janet Locklar | LUIS ORTEGA | Fabian Lujan
5-117260 | RK Supply | Janet Locklar | Richard Garcia | Jobe Christon
MD2608945 | Jet Specialty Inc | Kari Rainey | Jesus Rodriguez | Justin Rodriguez
10048 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10049 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10054 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10056 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10062 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10063 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10064 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10065 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10066 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10067 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10216 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10068 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10146 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10217 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10147 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10218 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10148 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10219 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
10149 | Backhoes Plus, LLC | Nancy Sepulveda | Callen Elliott | Marco Rodriguez
2509303459 | ASAP Rentals, LLC | Kelly Poynor | P.A. Gonzales | Jack Lau
18481 | Bustamante Frontier Services LLC | Janet Locklar | Perry Jamison | Bud Wilson

## Search Criteria
Ticket Search Detailed Report
Diamondback E&P LLC
Generated On: 10/15/2025
Buyer Name: Diamondback E&P LLC
Ticket Status: Confirmed, Approved
Date Criteria: Confirmed Date
Confirmed Date From: 10/14/2025
Confirmed Date To: 10/14/2025
Requisitioner: Alissa Washington, Beverly Patton, Janet Locklar, Jennifer Navarro, Kelly Poynor, Nancy Sepulveda, Sally Dominguez, Tiffany Clay, Maira Villa, Misty Morrison, Kimberly Grubbs, Kari Rainey, Ashley Hindson, Hillary Terry, Jazmine Enriquez, Megan Lane